Laboratory Medicine—Normal/Abnormal Lab Values – Sensitivity and Specificity

Normal/Abnormal Laboratory Values

Normal means that the object agrees with the regular and established type.  Normal reference range can be based on the test being used, the population being tested, and the laboratory where the test is taking place.  As a result, the reference range varies from institution to institution.  If lab results come back outside of the reference range, we must pay particular attention to those tests.  We need to confirm any abnormal lab results either with a repeated test or confirmatory tests.

A panic value is a result from a lab that should worry us.  These results are incompatible with life and need to be considered very serious.

Ethical issues and protocols must be considered in lab medicine.  Examples of this are blood transfusions or drug testing.  In drug testing, there is a chain of custody, which means the sample must be taken a certain way and delivered to the lab a certain way.

Factors that Affect Laboratory Values (Pre-Test Issues)

Pre-test issues start with the practitioner.

Practitioner Factors – the proper patient must be chosen for the test.  Check the patient’s arm band and call the patient by their name to make sure that you have the right patient.

Proper/improper instructions to the patient are important.  We must know as much as possible about the test so we can express this information to the patient.  This includes being able to express any concerns that the patient may have about the procedure.  Reviewing restrictions about the procedure and assuring that the patient knows these restrictions are key components.  Know about any allergies the patient may have.  Document everything you do.

Proper sequencing and scheduling of tests must be made in the best interest of the patient.  This will increase compliance of the patient regarding any preps that need to be done before the procedure.

Specimens must be collected properly.  This means using the proper tube or media used for the specimen.  Proper transport media must be used, i.e. arterial specimens need to be transported on ice ASAP to the laboratory.

Delayed delivery of the specimen to the laboratory can occur.  If things sit there, degradation of the products can occur.

Improper labeling of the specimen can affect the test results.  It must be consistent with the patient the test is being done on.

Patient Factors – patient factors are usually directly related to practitioner factors, such as patient education and patient compliance.

Patient knowledge/understanding of instructions has a lot to do with whether they will be compliant or not.  The instructions must be explained in terms they can understand.  Patient adherence/compliance with the instructions will affect how good the lab test is.

Medications the patient may be taking, including non-prescription or herbal supplements, could affect the outcome of your results and should be addressed prior to the test.

Patient state of health has a lot to do with test results.  The age of the patient is important because the pediatric and newborn population have different reference ranges.  Mid-adult years are associated with adjusted reference ranges for albumin, total protein, and cholesterol levels.  Gender of the patient is usually related to increased muscle mass and differences in hormonal secretion.  There are typically different reference ranges for men and women as well.  Race of the patients has a greater effect on genetic diseases.  Pregnancy is associated with different endocrine, hematologic, and biochemical changes that occur normally during pregnancy.  Food ingestion can affect glucose and cholesterol testing accuracy and is usually associated wit fasting.  Posture is also important because changes in body position affect the concentration of N-EPI, EPI, rennin, aldosterone, protein, and potassium.

Undisclosed medications and/or drug use will also affect laboratory tests.

Circadian rhythm has an effect on diagnostic laboratory testing procedures.  The time of day specimens are drawn can affect hormone and cortisol levels.

Laboratory Factors – laboratory/human error is when the specimen is processed incorrectly.  This regards the personnel processing the specimens.  The machines must also work properly.

Laboratory quality control regards machine error/malfunction.

Post Test Issues

After the test has been taken and the results are in, we still must consider certain issues.  We must make sure that everything is in the right place.  Confirmation of the test results, knowledge of test result implications, reporting test results to the patient, patient counseling, and patient confidentiality are all factors that must be considered.  State reportable illnesses include AIDS, Lyme’s disease, botulism, rabies, polio, and encephalitis.

SENSITIVITY AND SPECIFICITY

Standardization and quality control methods are used to maintain the quality of the laboratory.

Analytical Variation – typical standard deviations for repeated measurements made using a multi-channel auto-analyzer on a single quality control serum with concentrations in the normal range.

Biological Variation – means of standard deviations for repeated measurements made at weekly intervals in a group of healthy subjects over a period of 10 weeks, corrected for analytical variation

The above are used for calibration of the lab machinery to produce accuracy and precision.

Accuracy – the closeness of the expected value to the true value of the measured or estimated quantity; accuracy is when the results fall within the reference range – the extent in which a measurement procedure gives the same results when repeated under identical conditions.

Precision – the quality of being sharply or exactly defined.  Precision has to do with reproducibility.  No matter how many times the same procedure is done, the same results are produced.

Relation of Test Results to Sensitivity and Specificity (The Ideal Test)

Definition of Terms

Sensitivity – percentage of individuals WITH the particular disease for which the test is used in whom positive test results are found.  These are also called true positives

False Positives – cases in which individuals WITHOUT the particular disease test positive by a certain test.

Specificity – percentage of individuals who do NOT have the particular disease being tested, whom negative test results are found.  These are also called true negatives.

False Negative – cases in which individuals WITH the particular disease test negative by a certain disease.

Example of a test that is sensitive but not specific – fecal occult blood test.  A test that is very sensitive can have a high rate of false positives.  The test could be positive because the patient did not follow your instructions, vaginal bleeding, and hemorrhoidal bleeding

Example of a test that is very sensitive but not specific is a urine test for beta HCG.  It is a pregnancy test.  This type of test will have a high degree of false negatives – the woman might not be along far enough in the pregnancy to produce a positive test.

Gold Standard – a test or procedure that will give you the most useful, precise information for diagnosis of a disease.  Gold standards change over time.  Typically, testing should go from least invasive to the most invasive.